IMPORTANT INFORMATION ABOUT YOUR WATER SERVICE LINE

After completing the EPA required inventory of our water service lines, we have determined that some addresses may have water service line material that is an affected line as defined below.

See definitions:

- Lead – a portion of or the entire service line is made from lead. People living in homes with a lead service line may have an increased risk of exposure to lead from their drinking water.

- Galvanized Requiring Replacement (GRR)  a portion of or the entire service line is made from galvanized material and may have absorbed lead from upstream lead lines. People living in homes with a galvanized service line that has absorbed lead may have an increased risk of exposure to lead from their drinking water.

- Unknown (may contain lead) – a portion of or the entire service line material is unknown and may be lead or galvanized requiring replacement.

Please check the material type of your water service line on the online inventory list on our website at https://southernutilitiescompany.com .

You can search the inventory list by using the search feature and inputting your account number (Unique Service Line ID) or physical address.

Search Directions:	Click Column A (Service Line ID) highlighting the column, type in your account number OR Highlight Column C (Street Name) search and find your street name and house number.  Once you have found yours, scroll right to Column M to find out what your service line material is classified as.  If it is classified as “unknown” you will need to check the material type yourself or call your plumber to check the material type.

If you believe your service line has been incorrectly categorized, please contact us using the phone number provided at the end of this notice. You may dispute the current classification and provide details to update the categorization of the service line.

The potential for lead comes from YOUR service line pipe material NOT from our water well water facilities.

If you have an affected service line as classified above, we have listed some health effects you need to be aware of and how to minimize your exposure.

Some Health effects of Lead

Exposure to lead can cause serious health effects in all age groups. Infants and children can have decreases in IQ and attention span. Lead exposure can lead to new learning and behavior problems or exacerbate existing learning and behavior problems. The children of women who are exposed to lead before or during pregnancy can have increased risk of these adverse health effects. Adults can have increased risks of heart disease, high blood pressure, kidney, or nervous system problems.

Steps You Can Take to Reduce Your Exposure to Lead in Your Water

Below are recommended actions that you may take, separately or in combination, if you are concerned about lead in your drinking water. The list also includes where you may find more information and is not intended to be a complete list or to imply that all actions equally reduce lead from drinking water.

- Use your filter properly. Using a filter can reduce lead in drinking water. If you use a filter, it should be certified to remove lead. Read any directions provided with the filter to learn how to properly install, maintain, and use your cartridge and when to replace it. Using the cartridge after it has expired can make it less effective at removing lead. Do not run hot water through the filter. For more information, use the QR codes for EPA’s (QR-1) tool to identify certified filters, and (QR-2) fact sheet on home filtration.

QR-1

QR-2

Clean your aerator. Regularly remove and clean your faucet’s screen (also known as an aerator). Sediment, debris, and lead particles can collect in your aerator. If lead particles are caught in the aerator, lead can get into your water.

- Use cold water. Do not use hot water from the tap for drinking, cooking, or making baby formula as lead dissolves more easily into hot water. Boiling water does not remove lead from water.

- Run your water. The more time water has been sitting in your home’s pipes, the more lead it may contain. Before drinking, flush your home’s pipes by running the tap, taking a shower, doing laundry, or doing a load of dishes. The amount of time to run the water will depend on whether your home has a lead service line, the length and diameter of the service line and the amount of plumbing in your home.

Replacing Lead Service Lines

The Southern Utilities Company water system lead service line has been prepared as required by the EPA.

If you have an affected line, it is the homeowner’s responsibility if you choose to replace the water service line from the meter to the home or building.

If you have found what your material type is, if you have replaced, or plan to replace, the service line from the meter to your building/ house, we ask you to let us know as soon as you can using the contact information provided below. We are required to update our inventory with any updated information or if a replacement occurs.

Updates to our online water service line inventory will be done on a quarterly basis and will be posted to our website.

Contact Information

Public Water System (PWS) Contact: Michael R. Farrell or Scott Pope

Phone Number:  903.566.3511